## Efficiency Calculator
Solar Hot Air Collector Efficiency Calculator
Version 1.1
By Scott Davis (snkdavis@aol.com) and Bob Allan (ballan@voyageur.ca) |  |  |  | 11/11/2008
http://www.n3fjp.com/solar
This spreadsheet calculates the efficiency of your hot air collector by determining the amount
of heat you are capturing and dividing it by the amount of solar radiation striking your panel.
Required Data:
4 | Collector Height (Feet)
8 | Collector Width (Feet)
68 | Degrees Fahrenheit entering the collector
115 | Degrees Fahrenheit returning
100 | Cubic Feet per Minute (CFM) of air volume
If you don't know your CFM, you can calculate it by timing how many seconds it takes to fill a large trash bag
Assume 7.48 gallons per cubic foot, so a 30 gallon trash bag would hold 4 cubic feet (30 / 7.48 = 4)
If it takes 3 seconds to fill the trash bag: 60 seconds in a minute / 3 seconds to fill X 4 cubic feet = 80 CFM
| Select Latitude |  | The selectors assume a 90 degree collector orientation (tilt). For other orientations, please
| Select Month |  | see the solar intensity tables (links below) and enter your Solar Intensity manually.
Select Hour
245 | Solar Intensity (BTUs per Square Foot)
For a quick lookup table for your solar intensity with additional collector orientation values see:
http://www.builditsolar.com/References/SolRad/SolRadTables.htm
Or for a program with more detailed calculations:
http://www.builditsolar.com/Tools/RadOnCol/radoncol.htm
Output:
7.4963 | Pounds of air per minute
47 | Temperature Change (degrees)
84.5577 | BTUs per minute
5073.4633 | BTUs per hour
1486.5247 | Watt hour equivalent (A watt is .293 BTU) - this is the amount of watts of electricity it would take to produce the heat your system is generating by the sun!
32 | Collector Square Feet
7840 | Total BTU Radiation on Collector per hour
64.71% | Efficiency
Efficiency is a great number to try and get as high as possible, but it is not the most
important measurement of a collector. Size is! For more good info on
collector misconceptions, please visit:
http://www.builditsolar.com/References/Measurements/CollectorPerformance.htm#Misconceptions
Want to share the fun and interesting passtime of building solar hot air collectors (and save some money and the planet
while you are at it)? Please join our e-mail group:
http://tech.groups.yahoo.com/group/simplysolar/
Constants:
The amount of heat required to raise 1 pound of air 1 deg Fahrenheit = .24 BTU
BTUHs = POUNDS OF AIR PER HOUR X CHANGE IN AIR TEMPERATURE X 0.24
1 POUND OF STANDARD AIR HAS BEEN DETERMINED TO HAVE A VOLUME OF 13.34 CUBIC FEET
BTUHs = 1.08 X CFM X CHANGE IN AIR TEMPERATURE
Efficiency = (Collector Heat Output) / ( (Collector Area) (Solar Intensity) (Cosine(Incidence Angle)))

## Sheet1
Month Row # | 2
Month | Feb
Hour Row # | 8
Hour | 12 noon
Latitude Row # | 3
Latitude | 40
Selected BTU's/hr/ft | 245
BTU's/hr/sq ft @24 deg | 191
BTU's/hr/sq ft @32 deg | 222
BTU's/hr/sq ft @40 deg | 245
BTU's/hr/sq ft @48 deg | 258
BTU's/hr/sq ft @56 deg | 250
BTU's/hr/sq ft @64 deg | 226

## Table24
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 31 | 127 | 176 | 207 | 226 | 232 | 226 | 207 | 176 | 127 | 31 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 46 | 102 | 141 | 168 | 185 | 191 | 185 | 168 | 141 | 102 | 46 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 27 | 64 | 95 | 120 | 135 | 140 | 135 | 120 | 95 | 64 | 27 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 2 | 10 | 16 | 41 | 61 | 74 | 79 | 74 | 61 | 41 | 16 | 10 | 2 | 0 | 9:00 | 5 | 56
5 | May | 0 | 5 | 12 | 15 | 16 | 22 | 34 | 37 | 34 | 22 | 16 | 15 | 12 | 5 | 0 | 10:00 | 6 | 64
6 | Jun | 0 | 7 | 13 | 16 | 18 | 18 | 19 | 22 | 19 | 18 | 18 | 16 | 13 | 7 | 0 | 11:00
7 | Jul | 0 | 6 | 13 | 16 | 18 | 21 | 32 | 36 | 32 | 21 | 18 | 16 | 13 | 6 | 0 | 12 noon
8 | Aug | 0 | 2 | 11 | 16 | 39 | 59 | 71 | 75 | 71 | 59 | 39 | 16 | 11 | 2 | 0 | 13:00
9 | Sep | 0 | 0 | 26 | 62 | 93 | 116 | 131 | 136 | 131 | 116 | 93 | 62 | 26 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 42 | 99 | 138 | 165 | 182 | 188 | 182 | 165 | 138 | 99 | 42 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 29 | 124 | 172 | 204 | 222 | 228 | 222 | 204 | 172 | 124 | 29 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 14 | 130 | 184 | 217 | 236 | 243 | 236 | 217 | 184 | 130 | 14 | 0 | 0 | 17:00
18:00
19:00

## Table32
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 1 | 115 | 181 | 221 | 245 | 253 | 245 | 221 | 181 | 115 | 1 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 38 | 108 | 158 | 193 | 214 | 222 | 214 | 193 | 158 | 108 | 38 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 32 | 78 | 119 | 150 | 170 | 177 | 170 | 150 | 119 | 78 | 32 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 3 | 10 | 35 | 68 | 95 | 112 | 118 | 112 | 95 | 68 | 35 | 10 | 3 | 0 | 9:00 | 5 | 56
5 | May | 0 | 7 | 13 | 15 | 33 | 56 | 72 | 77 | 72 | 56 | 33 | 15 | 13 | 7 | 0 | 10:00 | 6 | 64
6 | Jun | 0 | 9 | 14 | 16 | 19 | 41 | 56 | 60 | 56 | 41 | 19 | 16 | 14 | 9 | 0 | 11:00
7 | Jul | 0 | 8 | 14 | 16 | 31 | 54 | 69 | 74 | 69 | 54 | 31 | 16 | 14 | 8 | 0 | 12 noon
8 | Aug | 0 | 4 | 12 | 33 | 65 | 91 | 107 | 113 | 107 | 91 | 65 | 33 | 12 | 4 | 0 | 13:00
9 | Sep | 0 | 0 | 30 | 75 | 114 | 145 | 164 | 171 | 164 | 145 | 114 | 75 | 30 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 32 | 104 | 153 | 188 | 209 | 217 | 209 | 188 | 153 | 104 | 32 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 1 | 111 | 176 | 217 | 241 | 249 | 241 | 217 | 176 | 111 | 1 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 107 | 183 | 226 | 251 | 259 | 251 | 226 | 183 | 107 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table40
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 84 | 171 | 223 | 253 | 263 | 253 | 223 | 171 | 84 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 22 | 107 | 167 | 210 | 236 | 245 | 236 | 210 | 167 | 107 | 22 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 35 | 89 | 138 | 176 | 200 | 208 | 200 | 176 | 138 | 89 | 35 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 4 | 12 | 53 | 93 | 126 | 147 | 154 | 147 | 126 | 93 | 53 | 12 | 4 | 0 | 9:00 | 5 | 56
5 | May | 0 | 9 | 13 | 25 | 60 | 89 | 108 | 114 | 108 | 89 | 60 | 25 | 13 | 9 | 0 | 10:00 | 6 | 64
6 | Jun | 1 | 10 | 14 | 16 | 47 | 74 | 92 | 98 | 92 | 74 | 47 | 16 | 14 | 10 | 1 | 11:00
7 | Jul | 0 | 9 | 14 | 24 | 58 | 86 | 104 | 111 | 104 | 86 | 58 | 24 | 14 | 9 | 0 | 12 noon
8 | Aug | 0 | 5 | 12 | 50 | 89 | 120 | 140 | 147 | 140 | 120 | 89 | 50 | 12 | 5 | 0 | 13:00
9 | Sep | 0 | 0 | 32 | 84 | 132 | 168 | 192 | 200 | 192 | 168 | 132 | 84 | 32 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 16 | 100 | 160 | 203 | 229 | 238 | 229 | 203 | 160 | 100 | 16 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 81 | 167 | 219 | 248 | 258 | 248 | 219 | 167 | 81 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 56 | 163 | 221 | 252 | 263 | 252 | 221 | 163 | 56 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table48
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 22 | 139 | 206 | 243 | 255 | 243 | 206 | 139 | 22 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 4 | 96 | 167 | 217 | 247 | 258 | 247 | 217 | 167 | 96 | 4 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 35 | 96 | 152 | 195 | 223 | 232 | 223 | 195 | 152 | 96 | 35 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 5 | 21 | 69 | 115 | 152 | 177 | 185 | 177 | 152 | 115 | 69 | 21 | 5 | 0 | 9:00 | 5 | 56
5 | May | 2 | 10 | 13 | 45 | 86 | 120 | 141 | 149 | 141 | 120 | 86 | 45 | 13 | 10 | 2 | 10:00 | 6 | 64
6 | Jun | 5 | 12 | 15 | 35 | 74 | 105 | 126 | 133 | 126 | 105 | 74 | 35 | 15 | 12 | 5 | 11:00
7 | Jul | 3 | 11 | 14 | 43 | 83 | 116 | 137 | 144 | 137 | 116 | 83 | 43 | 14 | 11 | 3 | 12 noon
8 | Aug | 0 | 6 | 20 | 65 | 110 | 146 | 169 | 177 | 169 | 146 | 110 | 65 | 20 | 6 | 0 | 13:00
9 | Sep | 0 | 0 | 31 | 90 | 143 | 185 | 212 | 221 | 212 | 185 | 143 | 90 | 31 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 87 | 157 | 207 | 237 | 247 | 237 | 207 | 157 | 87 | 1 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 22 | 135 | 201 | 238 | 250 | 238 | 201 | 135 | 22 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 109 | 190 | 231 | 244 | 231 | 190 | 109 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table56
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 0 | 60 | 153 | 201 | 217 | 201 | 153 | 60 | 0 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 0 | 69 | 151 | 208 | 243 | 250 | 243 | 208 | 151 | 69 | 0 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 32 | 97 | 158 | 205 | 236 | 246 | 236 | 205 | 158 | 97 | 32 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 6 | 29 | 82 | 133 | 174 | 200 | 209 | 200 | 174 | 133 | 82 | 29 | 6 | 0 | 9:00 | 5 | 56
5 | May | 6 | 11 | 16 | 63 | 109 | 146 | 170 | 178 | 170 | 146 | 109 | 63 | 16 | 11 | 6 | 10:00 | 6 | 64
6 | Jun | 8 | 12 | 15 | 55 | 98 | 133 | 156 | 164 | 156 | 133 | 98 | 55 | 15 | 12 | 8 | 11:00
7 | Jul | 0 | 6 | 15 | 61 | 106 | 142 | 165 | 173 | 165 | 142 | 106 | 61 | 15 | 12 | 6 | 12 noon
8 | Aug | 0 | 7 | 28 | 78 | 126 | 166 | 191 | 200 | 191 | 166 | 126 | 78 | 28 | 7 | 0 | 13:00
9 | Sep | 0 | 0 | 28 | 89 | 147 | 193 | 223 | 233 | 223 | 193 | 147 | 89 | 28 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 57 | 138 | 195 | 230 | 241 | 230 | 195 | 138 | 57 | 0 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 0 | 58 | 148 | 196 | 211 | 196 | 148 | 58 | 0 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 4 | 103 | 164 | 182 | 164 | 103 | 4 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table64
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 0 | 0 | 20 | 81 | 103 | 81 | 20 | 0 | 0 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 0 | 19 | 107 | 173 | 213 | 226 | 213 | 173 | 107 | 19 | 0 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 25 | 89 | 153 | 203 | 235 | 246 | 235 | 203 | 153 | 89 | 25 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 1 | 6 | 37 | 91 | 145 | 188 | 216 | 225 | 216 | 188 | 145 | 91 | 37 | 6 | 1 | 9:00 | 5 | 56
5 | May | 8 | 11 | 28 | 80 | 128 | 167 | 193 | 201 | 193 | 167 | 128 | 80 | 28 | 11 | 8 | 10:00 | 6 | 64
6 | Jun | 10 | 13 | 23 | 73 | 119 | 157 | 181 | 189 | 181 | 157 | 119 | 73 | 23 | 13 | 10 | 11:00
7 | Jul | 9 | 12 | 28 | 77 | 124 | 162 | 187 | 195 | 187 | 162 | 124 | 77 | 28 | 12 | 9 | 12 noon
8 | Aug | 2 | 7 | 35 | 87 | 138 | 179 | 205 | 215 | 205 | 179 | 138 | 87 | 35 | 7 | 2 | 13:00
9 | Sep | 0 | 0 | 21 | 81 | 141 | 189 | 220 | 230 | 220 | 189 | 141 | 81 | 21 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 10 | 90 | 155 | 195 | 208 | 195 | 155 | 90 | 10 | 0 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 0 | 0 | 21 | 79 | 100 | 79 | 21 | 0 | 0 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 17 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00