## Efficiency Calculator
Solar Water Collector Efficiency Calculator
Version 1.1
By Scott Davis (snkdavis@aol.com) and Bob Allan (ballan@voyageur.ca) |  |  |  | 11/11/2008
http://www.n3fjp.com/solar
This spreadsheet calculates the efficiency of your hot water collector by determining the amount
of heat you are capturing and dividing it by the amount of solar radiation striking your panel.
Required Data:
10 | Collector Height (Feet)
10 | Collector Width (Feet)
80 | Degrees Fahrenheit entering the collector
83.5 | Degrees Fahrenheit returning
8 | Gallons of fluid per minute (GPM) circulating through the collector
| Select Latitude |  | The selectors assume a 90 degree collector orientation (tilt). For other orientations, please
| Select Month |  | see the solar intensity tables (links below) and enter your Solar Intensity manually.
Select Hour
263 | Solar Intensity (BTUs per Square Foot)
For a quick lookup table for your solar intensity with additional collector orientation values see:
http://www.builditsolar.com/References/SolRad/SolRadTables.htm
Or for a program with more detailed calculations:
http://www.builditsolar.com/Tools/RadOnCol/radoncol.htm
Output:
66.696 | Pounds of water per minute
3.5 | Temperature Change (degrees)
233.436 | BTUs per minute
14006.16 | BTUs per hour
4103.8049 | Watt hour equivalent (A watt is .293 BTU) - this is the amount of watts of electricity it would take to produce the heat your system is generating by the sun!
100 | Collector Square Feet
26300 | Total BTU Radiation on Collector per hour
53.26% | Efficiency
200 | Size of thermal storage tank (gallons)
50.4 | Six hour temperature increase (degrees)
Efficiency is a great number to try and get as high as possible, but it is not the most
important measurement of a collector. Size is! For more good info on
collector misconceptions, please visit:
http://www.builditsolar.com/References/Measurements/CollectorPerformance.htm#Misconceptions
Want to share the fun and interesting passtime of building solar hot air collectors (and save some money and the planet
while you are at it)? Please join our e-mail group:
http://tech.groups.yahoo.com/group/simplysolar/

## Sheet1
Month Row # | 12
Month | Dec
Hour Row # | 8
Hour | 12 noon
Latitude Row # | 3
Latitude | 40
Selected BTU's/hr/ft | 263
BTU's/hr/sq ft @24 deg | 243
BTU's/hr/sq ft @32 deg | 259
BTU's/hr/sq ft @40 deg | 263
BTU's/hr/sq ft @48 deg | 244
BTU's/hr/sq ft @56 deg | 182
BTU's/hr/sq ft @64 deg | 17

## Table24
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 31 | 127 | 176 | 207 | 226 | 232 | 226 | 207 | 176 | 127 | 31 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 46 | 102 | 141 | 168 | 185 | 191 | 185 | 168 | 141 | 102 | 46 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 27 | 64 | 95 | 120 | 135 | 140 | 135 | 120 | 95 | 64 | 27 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 2 | 10 | 16 | 41 | 61 | 74 | 79 | 74 | 61 | 41 | 16 | 10 | 2 | 0 | 9:00 | 5 | 56
5 | May | 0 | 5 | 12 | 15 | 16 | 22 | 34 | 37 | 34 | 22 | 16 | 15 | 12 | 5 | 0 | 10:00 | 6 | 64
6 | Jun | 0 | 7 | 13 | 16 | 18 | 18 | 19 | 22 | 19 | 18 | 18 | 16 | 13 | 7 | 0 | 11:00
7 | Jul | 0 | 6 | 13 | 16 | 18 | 21 | 32 | 36 | 32 | 21 | 18 | 16 | 13 | 6 | 0 | 12 noon
8 | Aug | 0 | 2 | 11 | 16 | 39 | 59 | 71 | 75 | 71 | 59 | 39 | 16 | 11 | 2 | 0 | 13:00
9 | Sep | 0 | 0 | 26 | 62 | 93 | 116 | 131 | 136 | 131 | 116 | 93 | 62 | 26 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 42 | 99 | 138 | 165 | 182 | 188 | 182 | 165 | 138 | 99 | 42 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 29 | 124 | 172 | 204 | 222 | 228 | 222 | 204 | 172 | 124 | 29 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 14 | 130 | 184 | 217 | 236 | 243 | 236 | 217 | 184 | 130 | 14 | 0 | 0 | 17:00
18:00
19:00

## Table32
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 1 | 115 | 181 | 221 | 245 | 253 | 245 | 221 | 181 | 115 | 1 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 38 | 108 | 158 | 193 | 214 | 222 | 214 | 193 | 158 | 108 | 38 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 32 | 78 | 119 | 150 | 170 | 177 | 170 | 150 | 119 | 78 | 32 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 3 | 10 | 35 | 68 | 95 | 112 | 118 | 112 | 95 | 68 | 35 | 10 | 3 | 0 | 9:00 | 5 | 56
5 | May | 0 | 7 | 13 | 15 | 33 | 56 | 72 | 77 | 72 | 56 | 33 | 15 | 13 | 7 | 0 | 10:00 | 6 | 64
6 | Jun | 0 | 9 | 14 | 16 | 19 | 41 | 56 | 60 | 56 | 41 | 19 | 16 | 14 | 9 | 0 | 11:00
7 | Jul | 0 | 8 | 14 | 16 | 31 | 54 | 69 | 74 | 69 | 54 | 31 | 16 | 14 | 8 | 0 | 12 noon
8 | Aug | 0 | 4 | 12 | 33 | 65 | 91 | 107 | 113 | 107 | 91 | 65 | 33 | 12 | 4 | 0 | 13:00
9 | Sep | 0 | 0 | 30 | 75 | 114 | 145 | 164 | 171 | 164 | 145 | 114 | 75 | 30 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 32 | 104 | 153 | 188 | 209 | 217 | 209 | 188 | 153 | 104 | 32 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 1 | 111 | 176 | 217 | 241 | 249 | 241 | 217 | 176 | 111 | 1 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 107 | 183 | 226 | 251 | 259 | 251 | 226 | 183 | 107 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table40
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 84 | 171 | 223 | 253 | 263 | 253 | 223 | 171 | 84 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 22 | 107 | 167 | 210 | 236 | 245 | 236 | 210 | 167 | 107 | 22 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 35 | 89 | 138 | 176 | 200 | 208 | 200 | 176 | 138 | 89 | 35 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 4 | 12 | 53 | 93 | 126 | 147 | 154 | 147 | 126 | 93 | 53 | 12 | 4 | 0 | 9:00 | 5 | 56
5 | May | 0 | 9 | 13 | 25 | 60 | 89 | 108 | 114 | 108 | 89 | 60 | 25 | 13 | 9 | 0 | 10:00 | 6 | 64
6 | Jun | 1 | 10 | 14 | 16 | 47 | 74 | 92 | 98 | 92 | 74 | 47 | 16 | 14 | 10 | 1 | 11:00
7 | Jul | 0 | 9 | 14 | 24 | 58 | 86 | 104 | 111 | 104 | 86 | 58 | 24 | 14 | 9 | 0 | 12 noon
8 | Aug | 0 | 5 | 12 | 50 | 89 | 120 | 140 | 147 | 140 | 120 | 89 | 50 | 12 | 5 | 0 | 13:00
9 | Sep | 0 | 0 | 32 | 84 | 132 | 168 | 192 | 200 | 192 | 168 | 132 | 84 | 32 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 16 | 100 | 160 | 203 | 229 | 238 | 229 | 203 | 160 | 100 | 16 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 81 | 167 | 219 | 248 | 258 | 248 | 219 | 167 | 81 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 56 | 163 | 221 | 252 | 263 | 252 | 221 | 163 | 56 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table48
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 22 | 139 | 206 | 243 | 255 | 243 | 206 | 139 | 22 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 4 | 96 | 167 | 217 | 247 | 258 | 247 | 217 | 167 | 96 | 4 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 35 | 96 | 152 | 195 | 223 | 232 | 223 | 195 | 152 | 96 | 35 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 5 | 21 | 69 | 115 | 152 | 177 | 185 | 177 | 152 | 115 | 69 | 21 | 5 | 0 | 9:00 | 5 | 56
5 | May | 2 | 10 | 13 | 45 | 86 | 120 | 141 | 149 | 141 | 120 | 86 | 45 | 13 | 10 | 2 | 10:00 | 6 | 64
6 | Jun | 5 | 12 | 15 | 35 | 74 | 105 | 126 | 133 | 126 | 105 | 74 | 35 | 15 | 12 | 5 | 11:00
7 | Jul | 3 | 11 | 14 | 43 | 83 | 116 | 137 | 144 | 137 | 116 | 83 | 43 | 14 | 11 | 3 | 12 noon
8 | Aug | 0 | 6 | 20 | 65 | 110 | 146 | 169 | 177 | 169 | 146 | 110 | 65 | 20 | 6 | 0 | 13:00
9 | Sep | 0 | 0 | 31 | 90 | 143 | 185 | 212 | 221 | 212 | 185 | 143 | 90 | 31 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 87 | 157 | 207 | 237 | 247 | 237 | 207 | 157 | 87 | 1 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 22 | 135 | 201 | 238 | 250 | 238 | 201 | 135 | 22 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 109 | 190 | 231 | 244 | 231 | 190 | 109 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table56
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 0 | 60 | 153 | 201 | 217 | 201 | 153 | 60 | 0 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 0 | 69 | 151 | 208 | 243 | 250 | 243 | 208 | 151 | 69 | 0 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 32 | 97 | 158 | 205 | 236 | 246 | 236 | 205 | 158 | 97 | 32 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 0 | 6 | 29 | 82 | 133 | 174 | 200 | 209 | 200 | 174 | 133 | 82 | 29 | 6 | 0 | 9:00 | 5 | 56
5 | May | 6 | 11 | 16 | 63 | 109 | 146 | 170 | 178 | 170 | 146 | 109 | 63 | 16 | 11 | 6 | 10:00 | 6 | 64
6 | Jun | 8 | 12 | 15 | 55 | 98 | 133 | 156 | 164 | 156 | 133 | 98 | 55 | 15 | 12 | 8 | 11:00
7 | Jul | 0 | 6 | 15 | 61 | 106 | 142 | 165 | 173 | 165 | 142 | 106 | 61 | 15 | 12 | 6 | 12 noon
8 | Aug | 0 | 7 | 28 | 78 | 126 | 166 | 191 | 200 | 191 | 166 | 126 | 78 | 28 | 7 | 0 | 13:00
9 | Sep | 0 | 0 | 28 | 89 | 147 | 193 | 223 | 233 | 223 | 193 | 147 | 89 | 28 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 57 | 138 | 195 | 230 | 241 | 230 | 195 | 138 | 57 | 0 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 0 | 58 | 148 | 196 | 211 | 196 | 148 | 58 | 0 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 4 | 103 | 164 | 182 | 164 | 103 | 4 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00

## Table64
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Date | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12 noon | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 5:00 | 1 | 24
1 | Jan | 0 | 0 | 0 | 0 | 0 | 20 | 81 | 103 | 81 | 20 | 0 | 0 | 0 | 0 | 0 | 6:00 | 2 | 32
2 | Feb | 0 | 0 | 0 | 19 | 107 | 173 | 213 | 226 | 213 | 173 | 107 | 19 | 0 | 0 | 0 | 7:00 | 3 | 40
3 | Mar | 0 | 0 | 25 | 89 | 153 | 203 | 235 | 246 | 235 | 203 | 153 | 89 | 25 | 0 | 0 | 8:00 | 4 | 48
4 | Apr | 1 | 6 | 37 | 91 | 145 | 188 | 216 | 225 | 216 | 188 | 145 | 91 | 37 | 6 | 1 | 9:00 | 5 | 56
5 | May | 8 | 11 | 28 | 80 | 128 | 167 | 193 | 201 | 193 | 167 | 128 | 80 | 28 | 11 | 8 | 10:00 | 6 | 64
6 | Jun | 10 | 13 | 23 | 73 | 119 | 157 | 181 | 189 | 181 | 157 | 119 | 73 | 23 | 13 | 10 | 11:00
7 | Jul | 9 | 12 | 28 | 77 | 124 | 162 | 187 | 195 | 187 | 162 | 124 | 77 | 28 | 12 | 9 | 12 noon
8 | Aug | 2 | 7 | 35 | 87 | 138 | 179 | 205 | 215 | 205 | 179 | 138 | 87 | 35 | 7 | 2 | 13:00
9 | Sep | 0 | 0 | 21 | 81 | 141 | 189 | 220 | 230 | 220 | 189 | 141 | 81 | 21 | 0 | 0 | 14:00
10 | Oct | 0 | 0 | 0 | 10 | 90 | 155 | 195 | 208 | 195 | 155 | 90 | 10 | 0 | 0 | 0 | 15:00
11 | Nov | 0 | 0 | 0 | 0 | 0 | 21 | 79 | 100 | 79 | 21 | 0 | 0 | 0 | 0 | 0 | 16:00
12 | Dec | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 17 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 17:00
18:00
19:00